## EZTE MCA-MOP
Other Loads
| Electric Duct Heater Data |  |  | Largest Motor Current | Total Other Motor Loads | Other Heater Loads
Unit Tag | KW | Volts | Phase |  |  |  | MCA | MOP
|  | 277 | 1 |  |  |  | 0 | 15
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 3 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
|  | 277 | 1 |  |  |  | 0 | 15 | #REF!
#REF!
Note on D10: Kilowatts
Note on J10: Minimum Circuit Ampacity (MCA) MCA = 1.25 X Heater Current (For only ONE air terminal as selected) Maximum MCA = 60 Amps !!!!
Note on K10: Maximum Overcurrent Protection (MOP) MOP = Heater Load Rules:: 1. MOP must be greater than MCA 2. MOP must be at least 15 amps (For only ONE air terminal as selected) Maximum MOP = 110 Amps!!!!
Note on C10: Kilowatts
MODEL EZTE SINGLE DUCT TERMINALS
RESET FORM

## EZT EDH Calcs (hidden)
[16 empty] | 48 AMPS |  |  |  | MOP<110
[16 empty] | Max |  |  |  | MCA<60
Model # | Inlet Size | Primary Air Flow Rates |  |  |  |  | Electric Duct Heater Data | [17 empty] | Volt / Phase Error
|  | Cold Flow, CFM |  |  | Hot Flow, CFM |  | KW | Lvg Air Temp | MBH | Heating CFM | Lvg H20 Temp | Ent.Air Temp | Lvg Air Temp | Volts | Phase | Htr Amps | Large Motor | Other Mtr | Other Htr | MCA | MOP Calc |  |  |  | Trapping
|  | Max | Min | Aux | Max | Min |  |  |  | CFM | [6 empty] | Mtr |  |  |  | MOP | MOP2 | MOP2 | MOP FINAL
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 3 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15
#REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 15

## FTU CONTROL (hidden)
ZERO =
[6 empty] | QPTCABSIZE = |  | 1 | 2 | 3
AMP DRAW LOOKUP TABLE
Model # | Cabinet Size | Motor H.P. | Motor Volts | Motor Amps | Inlet Size | Fan CFM | Primary Air Flow Rates |  |  |  |  | INLET SIZE CHOOSE | HP | INLET SIZE SEARCH CODE | INLET SIZES AVAILABLE FOR SELECTION |  |  |  |  | Heater Voltages Available Based On Motor Volts Selected |  |  |  | Htr Volts Selected | Phase allowed | Mtr Amps Searc h Code |  | MOTOR VOLTAGE |  |  |  | Max Fan CFM @ .25
[7 empty] | Cold Flow, CFM |  |  | Hot Flow, CFM | [17 empty] | 120 | 208 | 240 | 277
[7 empty] | Max | Min | Aux | Max | Min | [15 empty] | EST100 | 13 |  | 6.5 | 6.3 | 2400
0 |  | 1 | 120 | #N/A | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 100 | 0100 | #N/A | #N/A | #N/A | #N/A | #N/A | 120 | 208 |  |  | 120 | 1 | 0100 | EST33 | 4.8 |  | 2.4 | 2.1 | 1100
0 |  | 0.75 | 120 | #N/A | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 75 | 075 | #N/A | #N/A | #N/A | #N/A | #N/A | 120 | 208 |  |  | 120 | 1 | 075 | EST50 | 8.2 |  | 4.1 | 3.9 | 1600
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | EST75 | 12 |  | 6 | 5.7 | 2000
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QPT117 | 2.5 |  |  | 1 | 375
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QPT125 | 5.5 |  |  | 2 | 710
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QPT217 | 2.5 |  |  | 1 | 535
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QPT225 | 6 |  |  | 2.5 | 1100
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QPT250 | 8 |  |  | 3.7 | 1540
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QPT3100 | 12 |  |  | 5 | 2350
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QPT350 | 8.5 |  |  | 4 | 1810
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QPT375 | 10.5 |  |  | 4 | 2175
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QST100 | 12.5 |  |  | 5 | 2550
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QST17 | 2.5 |  |  | 1 | 680
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QST25 | 6 |  |  | 2.5 | 1250
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QST50 | 8.5 |  |  | 4 | 1900
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | QST75 | 11 |  |  | 4 | 2300
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | INLET SIZE SEARCH
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | EST100 | 12 | 14 | 16
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | EST33 | 6 | 7 | 8 | 9 | 10
0 |  | 0 | 0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 0 | 00 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  |  |  | 480 | 3 | 00 | EST50 | 10 | 12 | 14
0 |  | 0.25 | 277 | #N/A | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | 25 | 025 | #N/A | #N/A | #N/A | #N/A | #N/A |  |  | 277 | 480 | 277 | 1 | 025 | EST33: EST75; 6: 12; 7: 14
[27 empty] | QPT1 | 6 | 7 | 8 | 9
[27 empty] | QPT2 | 9 | 10 | 12
[6 empty] | QSTHP = |  | 0.16667 | 0.25 | 0.5 | 0.75 | 1 | [14 empty] | QPT3 | 12 | 14 | 16
[6 empty] | ESTHP= |  | 0.33333 | 0.5 | 0.75 | 1 | [15 empty] | QST100 | 12 | 14 | 16
[6 empty] | QPT1HP= |  | 0.16667 | 0.25 | [17 empty] | QST17 | 6 | 7 | 8
[6 empty] | QPT2HP= |  | 0.16667 | 0.25 | 0.5 | [16 empty] | QST25 | 8 | 9 | 10
[6 empty] | QPT3HP= |  | 0.5 | 0.75 | 1 | [16 empty] | QST50 | 10 | 12 | 14
[6 empty] | ESTVOLTS= |  | 277 | 120 | 240 | [16 empty] | EST33: QST75; 6: 12; 7: 14
[6 empty] | QSTVOLTS= |  | 277 | 120

## EZT CONTROL (hidden)
Hot Water Coil Data
Model # | Cabinet Size | Motor H.P. | Motor Volts | Inlet Size | Fan CFM | Primary Air Flow Rates |  |  |  |  | Assy Min ∆Ps | Inlet Ps, in w.g. | Sound Level |  |  | # Rows | Btu/hr (000's) | Air |  |  |  | Water |  |  |  |  | Electric Duct Heater Data
[6 empty] | Cold Flow, CFM |  |  | Hot Flow, CFM |  |  |  | RAD NC | DIS NC | ROOM NC |  |  | Heating CFM | Elev Ft | EAT | LAT | GPM | H20 PD ft | % Glycol | EWT | LWT | KW | Lvg Air Temp | Btu/hr (000's) | Heating CFM | Lvg H20 Temp | Ent.Air Temp | Lvg Air Temp | Volts | MCA | MOP | Available Phase Based on Voltage Selected
[6 empty] | Max | Min | Aux | Max | Min |  |  | NC | NC | NC |  |  | CFM | [11 empty] | CFM
0 | 2 | 1 | 120 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 5 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 1
0 | 3 | 0.75 | 120 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 10 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 2
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 12 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 3
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 25 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 4
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 30 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 5
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 45 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 6
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 25 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 7
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 22 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 8
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 23 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 9
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 28 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 10
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 25 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 11
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 29 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 12
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 29 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 13
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 1 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 14
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 2 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 15
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 3 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 16
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 45 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 17
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 6 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 18
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 8 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 19
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 9 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 20
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 2 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 21
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 8 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 22
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 6 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 23
0 | 0 | 0 | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 1 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 24
0 | 1 | 0.25 | 277 | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 1 | #REF! | #REF! | #REF! |  |  |  |  | 55 | #REF! | 2 | #REF! | 0 | 180 | #REF! | 56 |  | 0 | #REF! | #REF! | #REF! | #REF! | 277 | 0 | 0 | 1 | 25

## FAN BOX MCA-MOP
| Fan Terminal Data | [8 empty] | Other Loads
Unit Tag | Model # | Terminal Unit Description | Cabinet Size | Motor H.P. | Motor Volts | Motor Amps | Electric Duct Heater Data |  |  | Largest Motor Current | Total Other Motor Loads | Other Heater Loads | MCA | MOP
[7 empty] | KW | Volts | Phase
|  | #N/A | 2 | 1 | 120 | Invalid H.P. | 5 | 120 | 1 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | 3 | 0.75 | 120 | Invalid H.P. | 4 | 120 | 1 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | [5 empty] | 480 | 3 |  |  |  | #N/A | #N/A | #N/A | #REF!
|  | #N/A | 1 | 0.25 | 277 | Invalid H.P. | 3 | 277 | 1 |  |  |  | #N/A | #N/A | #N/A | #REF!
Note on J10: Kilowatts
Note on K10: Power supply for all three phase heaters must be a 4-wire WYE configuration (includes a neutral)
RESET FORM
ANEMOSTAT FAN AIR TERMINALS

## FAN EDH CALCS (hidden)
[18 empty] | 60 MAX |  | MCA = 1.25 X (MTR AMPS + HTR AMPS)
[18 empty] | MOP<110 |  | MOP = (2.25 X MTR AMPS) + HTR AMPS
CABINET SIZE | Model # | Inlet Size | Primary Air Flow Rates | [6 empty] | Electric Duct Heater Data
|  |  | Cold Flow, CFM |  |  | Hot Flow, CFM |  | FAN CFM | PRIM EAT | KW | IND EAT | MBH | Min PRI CFM | IND CFM | TOTAL COIL CFM | COIL EAT | Lvg Air Temp | Volts | Phase | Htr Amps | Mtr Amps | Large Motor | Other Mtr | Other Htr | MCA | MOP Calc |  |  |  |  | MOP FINAL
|  |  | Max | Min | Aux | Max | Min | [5 empty] | CFM | IND CFM | [7 empty] | Mtr |  |  |  | MOP | MOP1 | MOP1 | MOP2 | MOP2
2 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 5 | #REF! | 17.06 | #REF! | #REF! | #REF! | #REF! | #REF! | 120 | 1 | #N/A | #N/A | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
3 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 4 | #REF! | 13.648 | #REF! | #REF! | #REF! | #REF! | #REF! | 120 | 1 | #N/A | #N/A | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A | Model Lookup Table
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A | EST | Series ECM Fan Powered Terminal | 0
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A | ESTE | Series ECM Fan Powered Terminal with Electric Heater | 1
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A | EZTE | Single Duct with Electric Heater | 1
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A | QPT | Parallel Fan Powered Terminal | 0
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A | QPTE | Parallel Fan Powered Terminal with Electric Heater | 1
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A | QST | Series Fan Powered Terminal | 0
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A | QSTE | Series Fan Powered Terminal with Electric Heater | 1
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
0 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 0 | #REF! | 0 | #REF! | #REF! | #REF! | #REF! | #REF! | 480 | 3 | #N/A |  | 0 | 0 | 0 | #N/A | #VALUE! | #VALUE! | #VALUE! | #N/A | #N/A | #N/A | #N/A
1 |  | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | #REF! | 3 | #REF! | 10.236 | #REF! | #REF! | #REF! | #REF! | #REF! | 277 | 1 | #N/A | #N/A | 0 | 0 | 0 | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A | #N/A

## User Guide
USER GUIDE
1. This version supports data generation for product groups EZT, EST, QST, & QPT air terminals.
2. Compatable with Excel 2000 and later.
3. You must enable macros when initially opening the spreadsheet for the program to run. If macros are not enabled, go to Tools>Macro>Security, and change the level of security to allow macros to run.
4. MCA is Minimum Circuit Ampacity and is used to determine appropriate conductor size for the circuit and is calculated as follows: MCA = 1.25 x (Load 1 + Load 2 + Load 3 + Load 4). The calculator includes the air terminal electric duct heater, and fan motor loads as applicable.
5. MOP is Maximum Overcurrent Protection and is used to size the overcurrent protective device for the circuit, usually a fuse or breaker. MOP = (2.25 x Current of largest motor) + All Other Loads. The calculator includes the air terminal electric duct heater, and fan motor loads as applicable.
MOP Rules:
a. MOP value is rounded DOWN to the nearest multiple of 5, typical denominations of available overcurrent protective devices.
b. MOP shall not be less than MCA.
c. MOP shall be no less than 15 amps.
6. MOP & MCA calculations as shown in Std UL 1995 (CAN/CSA-C22.2 No. 236) "Standard for Heating and Cooling Equipment"
7. The software is designed to calculate 25 lines or entries. Do not insert rows or columns. If you need to exceed 25 entry lines, save the spreadsheet after the first 25 and start entering the 26th, etc. at the top of the sheet and continue to save.
8. The calculator does NOT monitor data entry for validity, ie the voltage, heater kilowatts, phase,etc may not be available with product. Refer to specific product data for details.
9. "Reset Form" hot button will erase data entry for new input. The erased data is NOT saved. Print out if needed before resetting the form.
10. Data IS NOT automatically saved. You must manually save the data to a file name of your choice.
Disclaimer
This freeware is provided by Anemostat for personal use. Although every effort has been made to insure the accuracy and compatability of this program, Anemostat makes no claims as to its accuracy, and assumes no liability for its use.

## Revision Log (hidden)
Version | Description | Release Date
1 | Initial Release | 2006-08-17