## SUBMITTAL
DATE QUOTED: | [9 empty] | Models ADH-E, V, R - ELECTRIC VAV HEATER SUBMITTAL | [13 empty] | DATE ORDERED:
OPEN COIL
CUSTOMER: | [14 empty] | JOB:
CUSTOMER ORDER NO.:
ITEM |  |  | QTY | SERIES | KW |  |  | PH | VOLTS | STG |  | CTL VLT | S/F | KW/STG |  |  | W | H |  | Q | Z | U |  | BD | F | R | N | T | M
OPTIONS |  |  |  |  | ACCESSORIES | [9 empty] | SPECIAL INSTRUCTIONS
|  | Recessed box _____ in. |  |  |  |  | Power Fusing
|  | Insulation thickness ____in. |  |  |  |  | Transformer
|  | Gasketed cover |  |  |  |  | Transformer Fused Primary
|  | 80/20 A Wire |  |  |  |  | Transformer Fused Secondary
| X | Flush mount - Standard |  |  |  | X | Airflow Switch - Standard |  |  |  | Pilot light (Heater power ON) |  |  |  | FOR SLIP IN (S-TYPE) HEATERS, THE H DIM WILL BE UNDERSIZED 0.063" AND THE W
[7 empty] | Disconnect Switch |  |  |  | Pilot light (Stage ON, 1 per stage) |  |  |  | WILL BE UNDERSIZED BY 0.250" TO ALLOW THE HEATER TO SLIP INTO THE DUCT WORK.
Pilot light (Airflow switch open)
|  | Derate coil 35 Watts | [8 empty] | SCR |  |  |  |  | Approved |  |  | Approved As Noted |  |  |  | Not Approved
|  | Derate coil 25 Watts | [8 empty] | Thermostat _______________ |  |  |  | By_________________________ | [5 empty] | Date ___________
Sheet ____ of ____
ANEMOSTAT
1220 E. Watson Center Road, Carson, CA 90745