## SUBMITTAL
DATE QUOTED: | [9 empty] | Model ADH-O - ELECTRIC OUTDOOR DUCT HEATER SUBMITTAL | [12 empty] | DATE ORDERED:
OPEN COIL
CUSTOMER: | [13 empty] | JOB:
CUSTOMER ORDER NO.:
ITEM |  |  | QTY | SERIES | KW |  |  | PH | VOLTS | STG |  | CTL VLT | KW/STG |  |  | W | H |  | Q | Z | U |  | BD | F | R | N | T | M
OPTIONS |  |  |  |  | ACCESSORIES | [8 empty] | SPECIAL INSTRUCTIONS
| X | Recessed box _____ in. |  |  |  | X | Power Fusing - STANDARD
| X | Gasketed cover |  |  |  |  | Transformer
|  | 80/20 A Wire |  |  |  |  | Transformer Fused Primary | [6 empty] | PANEL DIMENSIONS ARE FOR A STOCK SIZE PANEL. CUSTOM DIMENSIONS ARE AVAILABLE BUT
|  | Stainless Terminals |  |  |  |  | Transformer Fused Secondary | [6 empty] | WILL REQUIRE LONGER LEAD TIMES.
[7 empty] | Airflow Switch Nonadjustable |  |  |  | Mercury Contactor |  |  | FOR OUTDOOR HEATERS, THE H DIM WILL BE UNDERSIZED 2.000" AND THE W DIM
|  | Derate coil 60 Watts |  |  |  |  | Airflow Switch Adjustable |  |  |  | Step Controller (analog signal) |  |  | WILL BE UNDERSIZED BY 1.000" TO ALLOW THE HEATER TO SLIP INTO THE DUCT WORK
|  | Derate coil 45 Watts |  |  |  |  | PE Switch |  |  |  | SCR Controller (analog signal) |  |  | AND GIVE A MINIMUM OF 1.0" SEALING SURFACE AROUND DUCT CUTOUT.
|  | Derate coil 35 Watts |  |  |  |  | Time Delay | [7 empty] | Approved |  |  | Approved As Noted |  |  |  | Not Approved
|  | Derate coil 25 Watts |  |  |  |  | Fan Relay |  |  |  | Thermostat _______________ |  |  | By_________________________ | [5 empty] | Date ___________
| X | Disconnecting Contactor | [11 empty] | Sheet ____ of ____
ANEMOSTAT
1220 E. Watson Center Road, Carson, CA 90745